## Slide 1: Horse Heaven Wind Farm Draft SCA Changes – Public Comments
Sean Greene, Environmental Planner
EFSEC

## Slide 2: Article VI (I): Operation Submittals
EFSEC
Original | Changes Based on Council Deliberations
I. Operations Fire Control Plan The Certificate Holder shall develop an Operations Fire Control Plan in coordination with state and local agencies to minimize the risk of accidental fire during operation and ensure effective response to any fire that does occur. The Operations Fire Control Plan must consider and address potential wildfire risk minimization and response as well as provide alternatives to aerial firefighting, which will be unavailable within the Lease Boundary due to the hazards that turbines pose to aircraft. | I. Operations Fire Control Plan The Certificate Holder shall develop an Operations Fire Control Plan in coordination with state and local agencies, including Benton County Fire Districts #1 and #5,1 to minimize the risk of accidental fire during operation and ensure effective response to any fire that does occur. The Operations Fire Control Plan must consider and address potential wildfire risk minimization and response as well as provide alternatives to aerial firefighting, which will be unavailable within the Lease Boundary due to the hazards that turbines pose to aircraft. 1 Clarifies that Benton County Fire Districts will be involved in the drafting of this plan, which is consistent with how the Construction Fire Control Plan is described in the SCA.

## Slide 3: Article VII (L): Operations
EFSEC
Original | Changes Based on Council Deliberations
(L) Decommissioning of Individual Wind Turbine Generators During the lifetime of the project, the Certificate Holder may choose, or be otherwise required to, decommission individual WTGs without the entire project being terminated pursuant to Article VIII of this agreement. … The Certificate Holder will disassemble and remove from the Project Area the WTG being decommissioned within one year of the last date the WTG produced power for sale. Decommissioning of the WTG does not require removal of the WTG foundation. … | (L) Decommissioning of Individual Wind Turbine Generators During the lifetime of the project, the Certificate Holder may choose, or be otherwise required to, decommission individual WTGs without the entire project being terminated pursuant to Article VIII of this agreement. … The Certificate Holder will disassemble and remove from the Project Area the WTG being decommissioned within one year of the last date the WTG produced power for sale. Decommissioning of the WTG does not require removal of the WTG foundation. Any foundations associated with a decommissioned WTG will either be removed immediately or during full Project decommissioning, consistent with Article VIII(B). 1 … 1 Clarification that WTG foundations will all be removed to a depth of four feet below grade, regardless of when an individual WTG is decommissioned.

## Slide 4: Article VIII (D)(2): Decommissioning
EFSEC
Original | Changes Based on Council Deliberations
1. Scope. Site Restoration shall involve removal of the solar panels and mounting structures; removal of foundations or other Project facilities to a depth of four (4) feet below grade; restoration of any disturbed soil to pre-construction condition; and removal of Project access roads and overhead poles and transmission lines (except for any roads and/or overhead infrastructure that Project Footprint landowner wishes to retain) (all of which shall comprise “Site Restoration”). Site Restoration shall also include the use of appropriate precautions during decommissioning and removal of any hazardous material to safely dispose of and to avoid, and, if necessary, remediate any soil contamination resulting from the hazardous materials. | 12. Scope. Site Restoration shall involve removal of the solar panels and mounting structures; removal of foundations or other all Project components, foundations, and1 facilities to a depth of four (4) feet below grade; restoration of any disturbed soil to pre-construction condition; and removal of Project access roads and overhead poles and transmission lines (except for any roads and/or overhead infrastructure that Project Footprint landowner wishes to retain) (all of which shall comprise “Site Restoration”). Site Restoration shall also include the use of appropriate precautions during decommissioning and removal of any hazardous material to safely dispose of and to avoid, and, if necessary, remediate any soil contamination resulting from the hazardous materials. 1 Corrects subsection number. Clarifies that Site Restoration will include the removal of all project components, not just solar panels.

## Slide 5: Article VIII (O): Decommissioning
EFSEC
Original | Changes Based on Council Deliberations
(O) Decommissioning Fire Control Plan The Certificate Holder shall develop a Decommissioning Fire Control Plan in coordination with state and local agencies to minimize the risk of accidental fire during decommissioning and ensure effective response to any fire that does occur. The Decommissioning Fire Control Plan must consider and address potential wildfire risk minimization and response. | (O) Decommissioning Fire Control Plan The Certificate Holder shall develop a Decommissioning Fire Control Plan in coordination with state and local agencies, including Benton County Fire Districts #1 and #5,1 to minimize the risk of accidental fire during decommissioning and ensure effective response to any fire that does occur. The Decommissioning Fire Control Plan must consider and address potential wildfire risk minimization and response. 1 Clarifies that Benton County Fire Districts will be involved in the drafting of this plan, which is consistent with how the Construction Fire Control Plan is described in the SCA.